2012

Carbon dating of the Souterrain in Tonroe

This document contains the C14 certificate. Page 2 is the certificate itself. Page 3 presents the calibrated date range in Years BP (Before Present, referring to 1950, the moment when the first A-bomb was exploded thus changing the natural content of C14 in the atmosphere), and in Years BC.

Foreword

We have a result from the radiocarbon dating.

It's good.

It is later than I had imagined, and in calendar years is dated to cal AD 1224-1276. This places it in the thirteenth century, and indicates that somebody occupied the site at this time. The sample, found among the soil that was fixed in against the steps into the souterrain does not date the time in which the souterrain was built, but rather a moment in which the souterrain was in use, or perhaps abandoned. Souterrains are generally thought to be in use at an earlier period, but this later date is important because it helps us to understand activity in the countryside during a time for which there is little tangible evidence for settlement, etc.

It is most useful and represents a further important addition to the record.

Best wishes

N

Radiocarbon Date Certificate

14CHRONO Centre Queens University Belfast

42 Fitzwilliam Street Belfast BT9 6AX Northern Ireland

Laboratory Identification: UBA-21064

Date of Measurement:	2012-10-01

Site:	Tonroe, Co. Roscommon

Sample ID:	Passage Material Dated:	charcoal Pretreatment:	AAA Submitted by:	Niall Brady

14C Date:  770±18 BP AMS δ13C: -25.1

Information about radiocarbon calibration

RADIOCARBON CALIBRATION PROGRAM* CALIB REV6.0.0

Copyright 1986-2010 M Stuiver and PJ Reimer

*To be used in conjunction with:

Stuiver, M., and Reimer, P.J., 1993, Radiocarbon, 35, 215-230.

Annotated results (text) - -

Export file - c14res.csv

Passage

UBA-21064

Radiocarbon Age BP	770 +/-	18

Calibration data set: intcal09.14c	# Reimer et al. 2009

% area enclosed	cal AD age ranges	relative area under

probability distribution

| 68.3 (1 sigma) | cal AD | 1229- | 1231 | 0.040 |
| --- | --- | --- | --- | --- |
|  |  | 1241- | 1246 | 0.100 |
|  |  | 1251- | 1274 | 0.860 |
| 95.4 (2 sigma) | cal AD | 1224- | 1276 | 1.000 |

References for calibration datasets:

PJ Reimer, MGL Baillie, E Bard, A Bayliss, JW Beck, PG Blackwell,

C Bronk Ramsey, CE Buck, GS Burr, RL Edwards, M Friedrich, PM Grootes,

TP Guilderson, I Hajdas, TJ Heaton, AG Hogg, KA Hughen, KF Kaiser, B Kromer, FG McCormac, SW Manning, RW Reimer, DA Richards, JR Southon, S Talamo,

CSM Turney, J van der Plicht, CE Weyhenmeyer (2009) Radiocarbon 51:1111-1150.

Comments:

* This standard deviation (error) includes a lab error multiplier.

** 1 sigma = square root of (sample std. dev.^2 + curve std. dev.^2)

** 2 sigma = 2 x square root of (sample std. dev.^2 + curve std. dev.^2)

where ^2 = quantity squared.

[ ] = calibrated range impinges on end of calibration data set

0* represents a "negative" age BP

1955* or 1960* denote influence of nuclear testing C-14

NOTE:	Cal ages and ranges are rounded to the nearest year which may be too precise in many instances. Users are advised to round results to the nearest 10 yr for samples with standard deviation in the radiocarbon age greater than 50 yr.

Submission form

| UBANo | Sample ID | Material Type | 14C Age | ± | AMS δ13C | F14C | ± | avgR0 | uAC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UBA-21064 | Passage | Hazel | 770 | 18 | -25.1 | 0.9086 | 0.0021 | 1012.84 | 29.2 |